Whole Structure Isometric

Job Information

|  | Engineer | Checked | Approved |
| --- | --- | --- | --- |
| Name: |  |  |  |
| Date: |  |  |  |

| Structure Type | SPACE FRAME |
| --- | --- |

| Number of Nodes | 4 | Highest Node | 4 |
| --- | --- | --- | --- |
| Number of Elements | 3 | Highest Beam | 3 |

| Number of Basic Load Cases | 1 |
| --- | --- |
| Number of Combination Load Cases | 0 |

Included in this printout are data for:

| All | The Whole Structure |
| --- | --- |

Included in this printout are results for load cases:

| Type | L/C | Name |
| --- | --- | --- |
| Primary | 1 | LOAD CASE 1 |

Nodes

| Node | X (in) | Y (in) | Z (in) |
| --- | --- | --- | --- |
| 1 | 0.000 | 0.000 | 0.000 |
| 2 | 0.000 | 100.000 | 0.000 |
| 3 | 100.000 | 100.000 | 0.000 |
| 4 | 100.000 | 0.000 | 0.000 |

Beams

| Beam | Node A | Node B | Length (in) | Property |  (degrees) |
| --- | --- | --- | --- | --- | --- |
| 1 | 1 | 2 | 100.000 | 1 | 0 |
| 2 | 2 | 3 | 100.000 | 1 | 0 |
| 3 | 3 | 4 | 100.000 | 1 | 0 |

Section Properties

| Prop | Section | Area (in2) | Iyy (in4) | Izz (in4) | J (in4) | Material |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | IPE100 | 1.596 | 0.384 | 4.108 | 0.022 | STEEL |

Materials

| Mat | Name | E (kip/in2) |  | Density (kip/in3) |  (1/°F) |
| --- | --- | --- | --- | --- | --- |
| 3 | STEEL | 29E 3 | 0.300 | 0.000 | 6.5E -6 |
| 4 | STAINLESSSTEEL | 28E 3 | 0.300 | 0.000 | 9.9E -6 |
| 5 | ALUMINUM | 10E 3 | 0.330 | 0.000 | 12.8E -6 |
| 6 | CONCRETE | 3.15E 3 | 0.170 | 0.000 | 5.5E -6 |

Supports

| Node | X (kip/in) | Y (kip/in) | Z (kip/in) | rX (kip-ft/deg) | rY (kip-ft/deg) | rZ (kip-ft/deg) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Fixed | Fixed | Fixed | Fixed | Fixed | Fixed |
| 4 | Fixed | Fixed | Fixed | Fixed | Fixed | Fixed |

Releases

There is no data of this type.

Basic Load Cases

| Number | Name |
| --- | --- |
| 1 | LOAD CASE 1 |

Combination Load Cases

There is no data of this type.

Load Generators

There is no data of this type.

Node Loads : 1 LOAD CASE 1

| Node | FX (lb) | FY (lb) | FZ (lb) | MX (lb-in) | MY (lb-in) | MZ (lb-in) |
| --- | --- | --- | --- | --- | --- | --- |
| 3 | 500.000 | - | - | - | - | - |

Node Displacements

| Node | L/C | X (in) | Y (in) | Z (in) | Resultant (in) | rX (rad) | rY (rad) | rZ (rad) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 1:LOAD CASE 1 | 0.255 | 0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |
| 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |
| 4 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Node Displacement Summary

|  | Node | L/C | X (in) | Y (in) | Z (in) | Resultant (in) | rX (rad) | rY (rad) | rZ (rad) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Max X | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |
| Min X | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max Y | 2 | 1:LOAD CASE 1 | 0.255 | 0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |
| Min Y | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |
| Max Z | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Min Z | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max rX | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Min rX | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max rY | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Min rY | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max rZ | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Min rZ | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |
| Max Rst | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 | 0.000 | 0.000 | -0.002 |

Beam Displacement Detail

Displacements shown in italic indicate the presence of an offset

| Beam | L/C | d (in) | X (in) | Y (in) | Z (in) | Resultant (in) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | 10.000 | 0.007 | 0.000 | 0.000 | 0.007 |
|  |  | 20.000 | 0.023 | 0.000 | 0.000 | 0.023 |
|  |  | 30.000 | 0.046 | 0.000 | 0.000 | 0.046 |
|  |  | 40.000 | 0.075 | 0.000 | 0.000 | 0.075 |
|  |  | 50.000 | 0.108 | 0.000 | 0.000 | 0.108 |
|  |  | 60.000 | 0.143 | 0.000 | 0.000 | 0.143 |
|  |  | 70.000 | 0.177 | 0.000 | 0.000 | 0.177 |
|  |  | 80.000 | 0.208 | 0.000 | 0.000 | 0.208 |
|  |  | 90.000 | 0.235 | 0.000 | 0.000 | 0.235 |
|  |  | 100.000 | 0.255 | 0.000 | 0.000 | 0.255 |
| 2 | 1:LOAD CASE 1 | 0.000 | 0.255 | 0.000 | 0.000 | 0.255 |
|  |  | 10.000 | 0.255 | -0.010 | 0.000 | 0.255 |
|  |  | 20.000 | 0.255 | -0.014 | 0.000 | 0.255 |
|  |  | 30.000 | 0.255 | -0.012 | 0.000 | 0.255 |
|  |  | 40.000 | 0.255 | -0.007 | 0.000 | 0.255 |
|  |  | 50.000 | 0.255 | 0.000 | 0.000 | 0.255 |
|  |  | 60.000 | 0.255 | 0.007 | 0.000 | 0.255 |
|  |  | 70.000 | 0.255 | 0.012 | 0.000 | 0.255 |
|  |  | 80.000 | 0.255 | 0.014 | 0.000 | 0.256 |
|  |  | 90.000 | 0.255 | 0.010 | 0.000 | 0.255 |
|  |  | 100.000 | 0.255 | -0.000 | 0.000 | 0.255 |
| 3 | 1:LOAD CASE 1 | 0.000 | 0.255 | -0.000 | 0.000 | 0.255 |
|  |  | 10.000 | 0.235 | -0.000 | 0.000 | 0.235 |
|  |  | 20.000 | 0.208 | -0.000 | 0.000 | 0.208 |
|  |  | 30.000 | 0.177 | -0.000 | 0.000 | 0.177 |
|  |  | 40.000 | 0.143 | -0.000 | 0.000 | 0.143 |
|  |  | 50.000 | 0.108 | -0.000 | 0.000 | 0.108 |
|  |  | 60.000 | 0.076 | -0.000 | 0.000 | 0.076 |
|  |  | 70.000 | 0.046 | -0.000 | 0.000 | 0.046 |
|  |  | 80.000 | 0.023 | -0.000 | 0.000 | 0.023 |
|  |  | 90.000 | 0.007 | -0.000 | 0.000 | 0.007 |
|  |  | 100.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Beam Displacement Detail Summary

Displacements shown in italic indicate the presence of an offset

|  | Beam | L/C | d (in) | X (in) | Y (in) | Z (in) | Resultant (in) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Max X | 2 | 1:LOAD CASE 1 | 100.000 | 0.255 | -0.000 | 0.000 | 0.255 |
| Min X | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max Y | 2 | 1:LOAD CASE 1 | 80.000 | 0.255 | 0.014 | 0.000 | 0.256 |
| Min Y | 2 | 1:LOAD CASE 1 | 20.000 | 0.255 | -0.014 | 0.000 | 0.255 |
| Max Z | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Min Z | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max Rst | 2 | 1:LOAD CASE 1 | 80.000 | 0.255 | 0.014 | 0.000 | 0.256 |

Beam Relative Displacement Detail

| Beam | L/C | d (in) | Disp. x x (in) | Disp. y y (in) | Disp. z z (in) | Resultant (in) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | 10.000 | -0.019 | 0.000 | 0.000 | 0.019 |
|  |  | 20.000 | -0.028 | 0.000 | 0.000 | 0.028 |
|  |  | 30.000 | -0.030 | 0.000 | 0.000 | 0.030 |
|  |  | 40.000 | -0.027 | 0.000 | 0.000 | 0.027 |
|  |  | 50.000 | -0.019 | 0.000 | 0.000 | 0.019 |
|  |  | 60.000 | -0.010 | 0.000 | 0.000 | 0.010 |
|  |  | 70.000 | -0.002 | 0.000 | 0.000 | 0.002 |
|  |  | 80.000 | 0.004 | 0.000 | 0.000 | 0.004 |
|  |  | 90.000 | 0.005 | 0.000 | 0.000 | 0.005 |
|  |  | 100.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 2 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | 10.000 | 0.000 | -0.010 | 0.000 | 0.010 |
|  |  | 20.000 | 0.000 | -0.014 | 0.000 | 0.014 |
|  |  | 30.000 | 0.000 | -0.012 | 0.000 | 0.012 |
|  |  | 40.000 | 0.000 | -0.007 | 0.000 | 0.007 |
|  |  | 50.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | 60.000 | 0.000 | 0.007 | 0.000 | 0.007 |
|  |  | 70.000 | 0.000 | 0.012 | 0.000 | 0.012 |
|  |  | 80.000 | 0.000 | 0.014 | 0.000 | 0.014 |
|  |  | 90.000 | 0.000 | 0.010 | 0.000 | 0.010 |
|  |  | 100.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 3 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  | 10.000 | 0.005 | -0.000 | 0.000 | 0.005 |
|  |  | 20.000 | 0.004 | 0.000 | 0.000 | 0.004 |
|  |  | 30.000 | -0.002 | -0.000 | 0.000 | 0.002 |
|  |  | 40.000 | -0.010 | -0.000 | 0.000 | 0.010 |
|  |  | 50.000 | -0.019 | 0.000 | 0.000 | 0.019 |
|  |  | 60.000 | -0.027 | 0.000 | 0.000 | 0.027 |
|  |  | 70.000 | -0.030 | 0.000 | 0.000 | 0.030 |
|  |  | 80.000 | -0.028 | 0.000 | 0.000 | 0.028 |
|  |  | 90.000 | -0.019 | 0.000 | 0.000 | 0.019 |
|  |  | 100.000 | 0.000 | 0.000 | 0.000 | 0.000 |

Beam Maximum Relative Displacements

Distances to maxima are given from beam end A.

| Beam | Node A | Length (in) | L/C | y (in) | d (in) | z (in) | d (in) | Resultant (in) | d (in) | Span Max z |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 100.000 | 1:LOAD CASE 1 | 0.000 | 75.000 | 0.000 | 0.000 | 0.031 | 25.000 | > 10000 |
| 2 | 2 | 100.000 | 1:LOAD CASE 1 | 0.014 | 75.000 | 0.000 | 0.000 | 0.014 | 75.000 | 7120 |
| 3 | 3 | 100.000 | 1:LOAD CASE 1 | 0.000 | 91.667 | 0.000 | 0.000 | 0.031 | 75.000 | > 10000 |

Beam End Displacements

Displacements shown in italic indicate the presence of an offset

| Beam | Node | L/C | X (in) | Y (in) | Z (in) | Resultant (in) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 |
|  | 2 | 1:LOAD CASE 1 | 0.255 | 0.000 | 0.000 | 0.255 |
| 2 | 2 | 1:LOAD CASE 1 | 0.255 | 0.000 | 0.000 | 0.255 |
|  | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 |
| 3 | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 |
|  | 4 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 |

Beam End Displacement Summary

Displacements shown in italic indicate the presence of an offset

|  | Beam | Node | L/C | X (in) | Y (in) | Z (in) | Resultant (in) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Max X | 2 | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 |
| Min X | 1 | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max Y | 1 | 2 | 1:LOAD CASE 1 | 0.255 | 0.000 | 0.000 | 0.255 |
| Min Y | 2 | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 |
| Max Z | 1 | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 |
| Min Z | 1 | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 | 0.000 |
| Max Rst | 2 | 3 | 1:LOAD CASE 1 | 0.255 | -0.000 | 0.000 | 0.255 |

Beam End Forces

Sign convention is as the action of the joint on the beam.

|  |  |  | Axial | Shear |  | Torsion | Bending |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Beam | Node | L/C | Fx (lb) | Fy (lb) | Fz (lb) | Mx (lb-in) | My (lb-in) | Mz (lb-in) |
| 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
|  | 2 | 1:LOAD CASE 1 | 213.482 | -249.809 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
| 2 | 2 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
|  | 3 | 1:LOAD CASE 1 | 249.809 | 213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
| 3 | 3 | 1:LOAD CASE 1 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
|  | 4 | 1:LOAD CASE 1 | -213.482 | -250.191 | 0.000 | 0.000 | 0.000 | 14.3E 3 |

Beam End Force Summary

The signs of the forces at end B of each beam have been reversed. For  example: this means that the Min Fx entry gives the largest tension value for an beam.

|  |  |  |  | Axial | Shear |  | Torsion | Bending |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Beam | Node | L/C | Fx (lb) | Fy (lb) | Fz (lb) | Mx (lb-in) | My (lb-in) | Mz (lb-in) |
| Max Fx | 3 | 3 | 1:LOAD CASE 1 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
| Min Fx | 2 | 2 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
| Max Fy | 3 | 3 | 1:LOAD CASE 1 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
| Min Fy | 2 | 2 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
| Max Fz | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min Fz | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max Mx | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min Mx | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max My | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min My | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max Mz | 1 | 1 | 1:LOAD CASE 1 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min Mz | 3 | 4 | 1:LOAD CASE 1 | 213.482 | 250.191 | -0.000 | -0.000 | -0.000 | -14.3E 3 |

Beam End Forces Envelope

Sign convention is as the action of the joint on the beam.

| Beam | Node | Envelope | Fx (lb) | Fy (lb) | Fz (lb) | Mx (lb-in) | My (lb-in) | Mz (lb-in) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | +ve | 0.000 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
|  |  |  | - | 1:LOAD CASE 1 | - | - | - | 1:LOAD CASE 1 |
|  |  |  | -213.482 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  | 1:LOAD CASE 1 | - | - | - | - | - |
|  | 2 | -ve | 0.000 | 249.809 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  | - | 1:LOAD CASE 1 | - | - | - | - |
|  |  |  | -213.482 | 0.000 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
|  |  |  | 1:LOAD CASE 1 | - | - | - | - | 1:LOAD CASE 1 |
| 2 | 2 | +ve | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  | - | - | - | - | - | - |
|  |  |  | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
|  |  |  | 1:LOAD CASE 1 | 1:LOAD CASE 1 | - | - | - | 1:LOAD CASE 1 |
|  | 3 | -ve | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
|  |  |  | - | - | - | - | - | 1:LOAD CASE 1 |
|  |  |  | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  | 1:LOAD CASE 1 | 1:LOAD CASE 1 | - | - | - | - |
| 3 | 3 | +ve | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
|  |  |  | 1:LOAD CASE 1 | 1:LOAD CASE 1 | - | - | - | 1:LOAD CASE 1 |
|  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  | - | - | - | - | - | - |
|  | 4 | -ve | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 0.000 |
|  |  |  | 1:LOAD CASE 1 | 1:LOAD CASE 1 | - | - | - | - |
|  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | -14.3E 3 |
|  |  |  | - | - | - | - | - | 1:LOAD CASE 1 |

Beam Force Detail

Sign convention as diagrams:- positive above line, negative below line except Fx where positive is compression. Distance d is given from beam end A.

|  |  |  | Axial | Shear |  | Torsion | Bending |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Beam | L/C | d (in) | Fx (lb) | Fy (lb) | Fz (lb) | Mx (lb-in) | My (lb-in) | Mz (lb-in) |
| 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
|  |  | 10.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 11.8E 3 |
|  |  | 20.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 9.32E 3 |
|  |  | 30.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 6.82E 3 |
|  |  | 40.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 4.32E 3 |
|  |  | 50.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 1.82E 3 |
|  |  | 60.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | -675.384 |
|  |  | 70.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | -3.17E 3 |
|  |  | 80.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | -5.67E 3 |
|  |  | 90.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | -8.17E 3 |
|  |  | 100.000 | -213.482 | 249.809 | -0.000 | -0.000 | -0.000 | -10.7E 3 |
| 2 | 1:LOAD CASE 1 | 0.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
|  |  | 10.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -8.53E 3 |
|  |  | 20.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -6.4E 3 |
|  |  | 30.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -4.26E 3 |
|  |  | 40.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -2.13E 3 |
|  |  | 50.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 6.365 |
|  |  | 60.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 2.14E 3 |
|  |  | 70.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 4.28E 3 |
|  |  | 80.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 6.41E 3 |
|  |  | 90.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 8.55E 3 |
|  |  | 100.000 | -249.809 | -213.482 | -0.000 | -0.000 | -0.000 | 10.7E 3 |
| 3 | 1:LOAD CASE 1 | 0.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
|  |  | 10.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 8.18E 3 |
|  |  | 20.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 5.68E 3 |
|  |  | 30.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 3.17E 3 |
|  |  | 40.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 672.840 |
|  |  | 50.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | -1.83E 3 |
|  |  | 60.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | -4.33E 3 |
|  |  | 70.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | -6.83E 3 |
|  |  | 80.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | -9.33E 3 |
|  |  | 90.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | -11.8E 3 |
|  |  | 100.000 | 213.482 | 250.191 | -0.000 | -0.000 | -0.000 | -14.3E 3 |

Beam Force Detail Summary

Sign convention as diagrams:- positive above line, negative below line except Fx where positive is compression. Distance d is given from beam end A.

|  |  |  |  | Axial | Shear |  | Torsion | Bending |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Beam | L/C | d (in) | Fx (lb) | Fy (lb) | Fz (lb) | Mx (lb-in) | My (lb-in) | Mz (lb-in) |
| Max Fx | 3 | 1:LOAD CASE 1 | 0.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
| Min Fx | 2 | 1:LOAD CASE 1 | 0.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
| Max Fy | 3 | 1:LOAD CASE 1 | 0.000 | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 10.7E 3 |
| Min Fy | 2 | 1:LOAD CASE 1 | 0.000 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -10.7E 3 |
| Max Fz | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min Fz | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max Mx | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min Mx | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max My | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min My | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max Mz | 1 | 1:LOAD CASE 1 | 0.000 | -213.482 | 249.809 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min Mz | 3 | 1:LOAD CASE 1 | 100.000 | 213.482 | 250.191 | -0.000 | -0.000 | -0.000 | -14.3E 3 |

Beam Maximum Moments

Distances to maxima are given from beam end A.

| Beam | Node A | Length (in) | L/C |  | d (in) | Max My (lb-in) | d (in) | Max Mz (lb-in) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 0.000 | 0.000 | 14.3E 3 |
|  |  |  |  | Max +ve | 0.000 | 0.000 | 100.000 | -10.7E 3 |
| 2 | 2 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 0.000 | 100.000 | 10.7E 3 |
|  |  |  |  | Max +ve | 0.000 | 0.000 | 0.000 | -10.7E 3 |
| 3 | 3 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 0.000 | 0.000 | 10.7E 3 |
|  |  |  |  | Max +ve | 0.000 | 0.000 | 100.000 | -14.3E 3 |

Beam Maximum Shear Forces

Distances to maxima are given from beam end A.

| Beam | Node A | Length (in) | L/C |  | d (in) | Max Fz (lb) | d (in) | Max Fy (lb) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 0.000 | 0.000 | 249.809 |
|  |  |  |  | Max +ve | 0.000 | 0.000 |  |  |
| 2 | 2 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 0.000 |  |  |
|  |  |  |  | Max +ve | 0.000 | 0.000 | 0.000 | -213.482 |
| 3 | 3 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 0.000 | 0.000 | 250.191 |
|  |  |  |  | Max +ve | 0.000 | 0.000 |  |  |

Beam Maximum Axial Forces

Distances to maxima are given from beam end A.

| Beam | Node A | Length (in) | L/C |  | d (in) | Max Fx (lb) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 100.000 | 1:LOAD CASE 1 | Max -ve |  |  |
|  |  |  |  | Max +ve | 0.000 | -213.482 |
| 2 | 2 | 100.000 | 1:LOAD CASE 1 | Max -ve |  |  |
|  |  |  |  | Max +ve | 0.000 | -249.809 |
| 3 | 3 | 100.000 | 1:LOAD CASE 1 | Max -ve | 0.000 | 213.482 |
|  |  |  |  | Max +ve |  |  |

Beam Maximum Forces by Section Property

|  |  | Axial | Shear |  | Torsion | Bending |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Section |  | Max Fx (lb) | Max Fy (lb) | Max Fz (lb) | Max Mx (lb-in) | Max My (lb-in) | Max Mz (lb-in) |
| IPE100 | Max +ve | 213.482 | 250.191 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
|  | Max -ve | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | -14.3E 3 |

Beam Combined Axial and Bending Stresses

| Beam | L/C | d | Corner 1 (psi) | Corner 2 (psi) | Corner 3 (psi) | Corner 4 (psi) | Max Tens (psi) | Max Comp (psi) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1:LOAD CASE 1 | 0.000 | -6.99E 3 | -6.99E 3 | 6.72E 3 | 6.72E 3 | -6.99E 3 | 6.72E 3 |
|  |  | 10.000 | -5.79E 3 | -5.79E 3 | 5.53E 3 | 5.53E 3 | -5.79E 3 | 5.53E 3 |
|  |  | 20.000 | -4.6E 3 | -4.6E 3 | 4.33E 3 | 4.33E 3 | -4.6E 3 | 4.33E 3 |
|  |  | 30.000 | -3.4E 3 | -3.4E 3 | 3.13E 3 | 3.13E 3 | -3.4E 3 | 3.13E 3 |
|  |  | 40.000 | -2.2E 3 | -2.2E 3 | 1.94E 3 | 1.94E 3 | -2.2E 3 | 1.94E 3 |
|  |  | 50.000 | -1.01E 3 | -1.01E 3 | 739.643 | 739.643 | -1.01E 3 | 739.643 |
|  |  | 60.000 | 189.896 | 189.896 | -457.334 | -457.334 | -457.334 | 189.896 |
|  |  | 70.000 | 1.39E 3 | 1.39E 3 | -1.65E 3 | -1.65E 3 | -1.65E 3 | 1.39E 3 |
|  |  | 80.000 | 2.58E 3 | 2.58E 3 | -2.85E 3 | -2.85E 3 | -2.85E 3 | 2.58E 3 |
|  |  | 90.000 | 3.78E 3 | 3.78E 3 | -4.05E 3 | -4.05E 3 | -4.05E 3 | 3.78E 3 |
|  |  | 100.000 | 4.98E 3 | 4.98E 3 | -5.25E 3 | -5.25E 3 | -5.25E 3 | 4.98E 3 |
| 2 | 1:LOAD CASE 1 | 0.000 | 4.96E 3 | 4.96E 3 | -5.27E 3 | -5.27E 3 | -5.27E 3 | 4.96E 3 |
|  |  | 10.000 | 3.93E 3 | 3.93E 3 | -4.25E 3 | -4.25E 3 | -4.25E 3 | 3.93E 3 |
|  |  | 20.000 | 2.91E 3 | 2.91E 3 | -3.22E 3 | -3.22E 3 | -3.22E 3 | 2.91E 3 |
|  |  | 30.000 | 1.89E 3 | 1.89E 3 | -2.2E 3 | -2.2E 3 | -2.2E 3 | 1.89E 3 |
|  |  | 40.000 | 863.392 | 863.392 | -1.18E 3 | -1.18E 3 | -1.18E 3 | 863.392 |
|  |  | 50.000 | -159.523 | -159.523 | -153.424 | -153.424 | -159.523 | 0.000 |
|  |  | 60.000 | -1.18E 3 | -1.18E 3 | 869.491 | 869.491 | -1.18E 3 | 869.491 |
|  |  | 70.000 | -2.21E 3 | -2.21E 3 | 1.89E 3 | 1.89E 3 | -2.21E 3 | 1.89E 3 |
|  |  | 80.000 | -3.23E 3 | -3.23E 3 | 2.92E 3 | 2.92E 3 | -3.23E 3 | 2.92E 3 |
|  |  | 90.000 | -4.25E 3 | -4.25E 3 | 3.94E 3 | 3.94E 3 | -4.25E 3 | 3.94E 3 |
|  |  | 100.000 | -5.27E 3 | -5.27E 3 | 4.96E 3 | 4.96E 3 | -5.27E 3 | 4.96E 3 |
| 3 | 1:LOAD CASE 1 | 0.000 | -4.98E 3 | -4.98E 3 | 5.25E 3 | 5.25E 3 | -4.98E 3 | 5.25E 3 |
|  |  | 10.000 | -3.79E 3 | -3.79E 3 | 4.05E 3 | 4.05E 3 | -3.79E 3 | 4.05E 3 |
|  |  | 20.000 | -2.59E 3 | -2.59E 3 | 2.85E 3 | 2.85E 3 | -2.59E 3 | 2.85E 3 |
|  |  | 30.000 | -1.39E 3 | -1.39E 3 | 1.65E 3 | 1.65E 3 | -1.39E 3 | 1.65E 3 |
|  |  | 40.000 | -188.677 | -188.677 | 456.115 | 456.115 | -188.677 | 456.115 |
|  |  | 50.000 | 1.01E 3 | 1.01E 3 | -742.692 | -742.692 | -742.692 | 1.01E 3 |
|  |  | 60.000 | 2.21E 3 | 2.21E 3 | -1.94E 3 | -1.94E 3 | -1.94E 3 | 2.21E 3 |
|  |  | 70.000 | 3.41E 3 | 3.41E 3 | -3.14E 3 | -3.14E 3 | -3.14E 3 | 3.41E 3 |
|  |  | 80.000 | 4.61E 3 | 4.61E 3 | -4.34E 3 | -4.34E 3 | -4.34E 3 | 4.61E 3 |
|  |  | 90.000 | 5.81E 3 | 5.81E 3 | -5.54E 3 | -5.54E 3 | -5.54E 3 | 5.81E 3 |
|  |  | 100.000 | 7E 3 | 7E 3 | -6.74E 3 | -6.74E 3 | -6.74E 3 | 7E 3 |

Beam Combined Axial and Bending Stresses Summary

|  |  |  | Max Comp |  |  | Max Tens |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Beam | L/C | Length (in) | Stress (psi) | d (in) | Corner | Stress (psi) | d (in) | Corner |
| 1 | 1:LOAD CASE 1 | 100.000 | 6.72E 3 | 0.000 | 3 | -6.99E 3 | 0.000 | 1 |
| 2 | 1:LOAD CASE 1 | 100.000 | 4.96E 3 | 100.000 | 3 | -5.27E 3 | 100.000 | 1 |
| 3 | 1:LOAD CASE 1 | 100.000 | 7E 3 | 100.000 | 1 | -6.74E 3 | 100.000 | 3 |

Beam Profile Stress

There is no data of this type.

Reactions

|  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Node | L/C | FX (lb) | FY (lb) | FZ (lb) | MX (lb-in) | MY (lb-in) | MZ (lb-in) |
| 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| 4 | 1:LOAD CASE 1 | -250.191 | 213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |

Reaction Summary

|  |  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Node | L/C | FX (lb) | FY (lb) | FZ (lb) | MX (lb-in) | MY (lb-in) | MZ (lb-in) |
| Max FX | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min FX | 4 | 1:LOAD CASE 1 | -250.191 | 213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max FY | 4 | 1:LOAD CASE 1 | -250.191 | 213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min FY | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max FZ | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min FZ | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max MX | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min MX | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max MY | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min MY | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Max MZ | 4 | 1:LOAD CASE 1 | -250.191 | 213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| Min MZ | 1 | 1:LOAD CASE 1 | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |

Reaction Envelope

|  |  | Horizontal | Vertical | Horizontal | Moment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Node | Env | FX (lb) | FY (lb) | FZ (lb) | MX (lb-in) | MY (lb-in) | MZ (lb-in) |
| 1 | +ve | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| 1 | +ve | - | - | - | - | - | Load: 1 |
| 1 | -ve | -249.809 | -213.482 | 0.000 | 0.000 | 0.000 | 0.000 |
| 1 | -ve | Load: 1 | Load: 1 | - | - | - | - |
| 4 | +ve | 0.000 | 213.482 | 0.000 | 0.000 | 0.000 | 14.3E 3 |
| 4 | +ve | - | Load: 1 | - | - | - | Load: 1 |
| 4 | -ve | -250.191 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 |
| 4 | -ve | Load: 1 | - | - | - | - | - |

Utilization Ratio

| Beam | Analysis Property | Design Property | Actual Ratio | Allowable Ratio | Ratio (Act./Allow.) | Clause | L/C | Ax (in2) | Iz (in4) | Iy (in4) | Ix (in4) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | IPE100 | IPE100 | 0.000 | 1.000 | 0.000 |  |  | 1.597 | 4.108 | 0.384 | 0.029 |
| 2 | IPE100 | IPE100 | 0.000 | 1.000 | 0.000 |  |  | 1.597 | 4.108 | 0.384 | 0.029 |
| 3 | IPE100 | IPE100 | 0.000 | 1.000 | 0.000 |  |  | 1.597 | 4.108 | 0.384 | 0.029 |

Failed Members

There is no data of this type.

Base Pressure

| Node | L/C | FX (psi) | FY (psi) | FZ (psi) |
| --- | --- | --- | --- | --- |
| 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |
| 4 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |

Base Pressure Summary

|  | Node | L/C | FX (psi) | FY (psi) | FZ (psi) |
| --- | --- | --- | --- | --- | --- |
| Max FX | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |
| Min FX | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |
| Max FY | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |
| Min FY | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |
| Max FZ | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |
| Min FZ | 1 | 1:LOAD CASE 1 | 0.000 | 0.000 | 0.000 |

Statics Check Results

| L/C |  | FX (lb) | FY (lb) | FZ (lb) | MX (lb-in) | MY (lb-in) | MZ (lb-in) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1:LOAD CASE 1 | Loads | 500.000 | 0.000 | 0.000 | 0.000 | 0.000 | -50E 3 |
| 1:LOAD CASE 1 | Reactions | -500.000 | 0.000 | 0.000 | 0.000 | 0.000 | 50E 3 |
|  | Difference | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | -0.000 |